## Slide 1: Development of A Multichannel Modular Universal Biopotential Amplifier Train (RTR Module)

## Slide 2: SUPERVISOR
Group Members
EXTERNAL SUPERVISOR
GROUP-35 , Summer Defense 2O16
Saiful Islam Khan Lecturer, Faculty of Engineering, AIUB.
Chowdhury Akram Hossain Senior Assistant Professor,
Faculty of Engineering, AIUB.
MD. Amirul Islam Rokan ID:13-23295-1
Fakrul Islam Tushar ID:13-23244-1
Rupu Chowdhury ID:13-23143-1

## Slide 3: Contents
Biomedical Engineering
Biopotentials
Available Biopotential LAB Equipment Problem
Project Idea
Block Diagram of the project
RTR Module Configuration
Hand on skill Enhancement
Output of ECG,EEG and EMG
Cost of the Project
Software Alternative
Limitation & Solution
Student Survey
Reference

## Slide 4: Biomedical Engineering
Biomedical engineers (BME) apply advance engineering designing knowledge to solve medical challenges and design health care devices problems[1].
      Engineering your health
      Designing artificial limbs
      Designing medical equipment and so on….

## Slide 5: Biopotential
Biopotentials are electric potentials that is measured in living cells, tissues and organisms, which accompanies biochemical process [1].
There are different types of biopotentials in different parts of human body Different biopotential are ECG, EEG, EMG, EOG, AAP etc.
EEG
ECG
EMG

## Slide 6: Biopotential
 | ECG | EEG | EMG
Amplitude (mV) | 1-5 | 0.001-0.01 | 1-10
Bandwidth (Hz) | 0.5-100 | 0.5-40 | 200-2000
ECG
EMG
EEG

## Slide 7
“Problems with the biopotential lab’s equipment”

## Slide 8: Available Laboratory Devices
Fig.1: Biopotential lab devices.
a) R&D kit [3].
b) Biopac ECG100C [4].
d)BiBeat ECG kit [5].
e)BiBeat EMG kit [3].
c) Mega EEG [5].

## Slide 9: High Cost

## Slide 10: IDEA OF THE PROJECT
Reconfigurable Design
Cost Effective
Give students hand on designing experience
1
2
3

## Slide 11: BLOCK DIAGRAM OF THE PROJECT
Fig.2: Block diagram of the project.

## Slide 12: BLOCK DIAGRAM OF THE RTR MODULE
Fig.3: Block diagram of RTR module.

## Slide 13: BLOCK DIAGRAM OF THE CONFIGURATION
a) ECG Configuration
b) EEG Configuration
c) EMG Configuration
Fig.4: Configuration Block diagram of the RTR module for acquiring biosignals.

## Slide 14: DESIGNED PROTOTYPE
Fig.5: Prototype of RTR Module.

## Slide 15: HAND-ON DESIGNING EXPERIENCE
Fig.6: Connection configuration.

## Slide 16: HAND-ON DESIGNING EXPERIENCE
Fig.7: Connection configuration with circuit made in breadboard.
a) RTR Module.
b) Breadboard filter design

## Slide 17: ECG MEASUREMENT
(a) Electrode placement.
(c) ECG output.
Fig.8: ECG measurement.
(b)Non-clinical experimental output collected from Bi-Beat[2].
(d) ECG output.

## Slide 18: EEG MEASUREMENT
(a) Electrode placement.
(c) EEG output.
Fig.9: EEG measurement.
(b) Standard Alpha & Beta range of EEG[1].

## Slide 19: EMG MEASUREMENT
(b) Electrode placement a compressed position
(d) EMG output.
Fig. 10: EMG measurement.
(a) Electrode placement and rest position
(c) Non clinical EMG output[2].

## Slide 20: Cost
Equipment | Cost (TAKA)
PCB Printout and Soldering | 3500
RTR Box | 2500
Op-Amps | 2000
Circuit Equipment | 2000
Electrodes and other wires | 1000
Data Acquisition system | 800
Total | 11800TK / $143

## Slide 21: Target achievements
Reconfigurable design
Giving hand-on experience to the student
Cost Effective

## Slide 22: SOFTWARE ALTERNATIVE
Fig.11: Software alternative.

## Slide 23: LIMITATION & SOLUTION
For medical equipment is good to have the tolerance level of 0.1% ,where we had used resistance of 5%-10% tolerance due to the lacking of SMD implementation limitation.
For over come the limitation we are coming with the “RTR module 2.0”

## Slide 24
“RTR MODULE 2.O”
Cost Approximately $250
#Start a small startup # National Patent #Catch the marker

## Slide 25: 50 1 to 5 6
Students
Questions score
Questions
Survey on Student
👦👧
?
🔑

## Slide 26: SURVEY QUESTIONS
Strongly Disagreed
Strongly Agreed

## Slide 27: SURVEY RESULT

## Slide 28: Reference
[1] The Biosignal How-To [BPM biosignals]. 2016. The Biosignal How-To [BPM biosignals]. [ONLINE] Available at: http://biosignals.berndporr.me.uk/doku.php?id=start. Accessed 01 May 2016.
[2] BiBeat. 2016. 12 lead ECG | BiBeat. [ONLINE] Available at: http://bibeat.com/product/12-lead-ecg/. Accessed 02 May 2016.
[3]O. O. Store, "R&D kit (16-channel) — 32bit, daisy, & accessories," OpenBCI Online Store, 2016. [Online]. Available: http://shop.openbci.com/collections/frontpage/products/openbci-16-channel-r-d-kit?variant=785215991. Accessed: Dec. 28, 2016.
[4] [Online]. Available: https://www.biopac.com/product/ecg-electrocardiogram-amplifier/. Accessed: Dec. 28, 2016.
[5] M. E. Ltd, "Mega electronics Ltd," 2016. [Online]. Available: http://www.megaemg.com/products/. Accessed: Dec. 28, 2016.

## Slide 29: Thank you !!!

## Slide 30: ANY Question ???